Permit Application #2000.9 - Temporary LPG or Natural Gas use

# Tacoma Fire Department
Fire Prevention Division 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

in Assembly Occupancy - Single Event

Submit Paper Work by Hand, Mail, Fax, E-mail to: TFDSEO@cityoftacoma.org


To be completed by the Permit Applicant (type in the grey box or print out and complete)

| ### Business Information |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  | Federal Tax ID: |  |  | UBI: |  |  |
| Business Name: |  |  |  |  | Drivers License: |  |  |  |  |  |
| Address: | Street |  |  | City |  |  | State |  | Zip |  |
| Site Address: | (if different from above) |  |  |  |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |  |  |  |
| Phone: | ( ) |  |  |  | Alternate Phone/Cell: ( ) |  |  |  |  |  |
| E-mail Address: |  |  |  |  |  |  |  |  |  |  |
| Event Name: |  |  | Type of Event: |  |  |  |  |  |  |  |
| Date of Event: |  |  | Start Time of Event: |  |  |  |  |  |  |  |
| End time of Event: |  |  | Number of Gas Fuel Users: |  |  |  |  |  |  |  |
| City of Tacoma Business License: |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |
| ### Please include a check made payable to the CITY OF TACOMA TREASURER, or request an invoice. |  |  |  |  |  |  |  |  |  |  |
| Check this box to have applicant invoiced for the permit fee. |  |  |  |  |  |  |  |  |  |  |
| ### FPB OFFICIAL USE ONLY |  |  |  |  |  |  |  |  |  |  |
| Approved By: |  |  | Date: |  |  |  |  |  |  |  |
| Denied: | Reason for Denial: |  |  |  |  |  |  |  |  |  |
| Site Inspection: | Approval: Corrective Measures: 1. 2. |  |  |  |  |  |  |  |  |  |
| Permit Number: |  |  |  |  |  |  |  |  |  |  |
| Permit Fees: | Date Received: | Receipt Number: |  |  |  | Check Number: |  |  |  |  |

See attached documentation for description of conditions that must be met prior to the issuance of this permit.

# Tacoma Fire Department

-LPG-

PERMIT CONDITIONS: #2000.9 Temporary LPG and Natural Gas use in Assembly Occupancy

Scope: Event promoter, sponsor or responsible person shall be required to obtain this permit for the use of LPG or Natural Gas in an Assembly Occupancy.

All of the following conditions must be met prior to the issuance of a permit.

# 1. Time Lines:

- Applications must be submitted at least 7 days prior to event.

# 2. Regulatory References

- International Fire Code chapter 38

- NFPA 58

- Tacoma Fire Department Indoor Booth Safety Requirements Information Bulletin – see attached

- TMC Title 3 & 11

# 3. Required Submittals

- Tacoma Fire Department Application

- City of Tacoma business license (provide on application)

- Booth floor plan showing exits and appliance placement

- Plan showing the location of the heating appliance on the exterior, the fuel and the routing of ducting into the building or other structure.

# 4. Inspection Requirements

- At least 2 days before event, make an appointment for a site inspection.

- Final permit approval is subject to site inspection.

- Non permitted or non approved operations will be stopped.

# 5. Requirements

- Permit shall be posted in the immediate vicinity of fueled equipment in use.

- Permit holder is responsible for the training and use of LPG, CNG and fire   
     extinguishers.

- LPG and Natural gas may be supplied to appliances by the means of  
     piping directly to the appliance from a source outside the building or from 
     the buildings gas supply.  The use of LPG (propane) cylinders is 
     prohibited.

- A maximum of two 10 ounce Butane cylinders per appliance is permitted.  
     No extra cylinders are permitted to be stored.

- Cylinders shall be connected directly to the appliance and shall not be   
     manifolded.

- Cylinders shall be an integral part of the listed, approved, commercial food 
     service device and shall be connected without the use of a rubber hose.

- Cylinders shall comply with UL 147B, Standard for Nonrefillable type metal 
     container assemblies for Butane.

- A maximum of 250 cubic feet (3 gallons) of CNG in a cylinder is  
     allowed per booth.

- A currently certified fire extinguisher rated 2A40BC shall be in the booth.

- If a deep frying operation is conducted, a currently certified “K” Class 
     extinguisher is also required to be in the booth (in addition to the 2A40BC  
     extinguisher).

- No containers are allowed in the building overnight.

- Maintain 20’ distance from stairwells and exit doors.

- Approved heating appliance shall comply with stated safety requirements.

Tacoma Dome Arena Floor

- LPG is limited to ONE 2.5 gallon cylinder per booth.

- A minimum of 20 feet separation is required between cylinders.

- Cooking trailers:

  - A currently certified UL 300 automatic fire suppression system is required.

  - Fire extinguisher requirements: 2A40BC and K Class for deep frying operations.

  - Fuel system limited to ONE 20 gallon container.  No additional storage of LPG is permitted.

  - Comply with all stated safety requirements.

Any cooking operation lacking the required fire extinguisher will be ordered to cease cooking until the fire extinguisher is provided.