Permit Application #2004.1 Annual Marine Terminal Permit

# Tacoma Fire Department
Fire Prevention Division 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

Submit Paper Work by Hand, Mail, Fax, E-mail to: TFDHMO@cityoftacoma.org

To be completed by the Permit Applicant (type in the grey box or print out and complete)

| ### Business Information |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  | Federal Tax ID: |  |  |  |  |  |
| Business Name: |  |  |  | UBI: |  |  |  |  |  |
| Address: | Street |  |  |  | City |  | State | Zip |  |
| Site Address: | (if different from above) |  |  |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |  |  |
| Phone: | ( ) |  |  |  | Alternate Phone/Cell: ( ) |  |  |  |  |
| E-mail Address: |  |  |  |  |  |  |  |  |  |
| City of Tacoma Business License: |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |
| ### Please include a check made payable to the CITY OF TACOMA TREASURER, or request an invoice. |  |  |  |  |  |  |  |  |  |
| Check this box to have the applicant invoiced for this permit. |  |  |  |  |  |  |  |  |  |
| ### FPB OFFICIAL USE ONLY |  |  |  |  |  |  |  |  |  |
| Approved By: |  |  | Date: |  |  |  |  |  |  |
| Denied: | Reason for Denial: |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |
| Permit Number: |  |  |  |  |  |  |  |  |  |
| Permit Fees: | Date Received: | Receipt Number: |  |  |  | Check Number: |  |  |  |

See attached documentation for description of conditions that must be met prior to the issuance of this permit.

- Marine -

# Tacoma Fire Department

PERMIT CONDITIONS: #2004.1 Annual Marine Terminal Permit

All of the following conditions must be met prior to the issuance of a permit.

1. Timelines

- An annual permit is required to operate a Marine Terminal.  The permit anniversary date will be established with the issue of the first permit.

2. Regulatory references

- NFPA 307

- International Fire Code Chapter 27

- Tacoma Fire Department Policy 6320 Hazardous Materials at Marine Terminals

3. Required submittals

- Tacoma Fire Department permit application

- City of Tacoma business license (provide number on application)

- Hazardous Materials Emergency Operations Plan

- Hazardous Materials Management Plan

- Hazardous Materials Inventory Statement

4. Inspection requirements

- Annual site inspection for permit renewal.

5. Requirements

- Hazardous materials shall not be processed for further shipment unless packed, labeled and placarded in accordance with all laws, ordinances and regulations.

- Combined bulk cargo and general cargo operations shall not be permitted where the joint operations increase the fire hazard in each operation.

- A written plan shall be developed and implemented for handling and temporary storage of hazardous materials at all cargo terminals.

- The plan shall establish the use of designated areas for temporary storage.

- Fire lanes shall be maintained not less than 20 ft. wide and no storage area more than 50 ft. from the fire lane.  Fire lanes shall not come to a dead end.

- Areas used to store hazardous materials in a liquid state shall have materials available for blocking drains

- Terminals that receive and deliver explosive materials shall establish and operate an explosives interchange lot.

- A sufficient number of accessible hydrants shall be provided on or immediately adjacent to every pier, wharf, or marine terminal yard.

- All buildings storing hazardous materials are required to be sprinkled.

Hazardous PREVENTION AND EDUCATION

# Materials at Marine Terminals 6320

| 1.0 | Overview |
| --- | --- |

| 1.1 | Purpose - This document establishes TFD’s policy on standard conditions for temporary storage and handling of hazardous materials at marine terminals operating under an annual marine terminal permit. |
| --- | --- |
| 1.2 | This document applies to all Fire Prevention Bureau personnel. |
| 1.3 | This is the original document in the TFD modern format. |
| 1.4 | Associated with this document is/are the following forms: - Permit requirement/conditions forms under development at this time |
| 1.5 | For related, TFD-specific information users of this document should refer to: - TFD Policy 6602: Permit and Service Fees - TFD Policy 6321: Storage and Process Transfer of Hazardous Materials |
| 2.0 | Responsibilities |

| 2.1 | The Assistant Chief of Prevention and Education shall: - Maintain this document. - Oversee the process of issuing annual marine terminal permits. - Evaluate requests for special hazardous materials permits |
| --- | --- |
| 3.0 | Definitions |

| 3.1 | Annual Permit. An operational permit issued to allow certain repetitive operations to occur over a specified period of time; usually one year. |
| --- | --- |
| 3.2 | Blasting Agent. A material or mixture consisting of fuel and oxidizer, intended for blasting provided that the finished product, as mixed for use or shipment, cannot be detonated by a means of a No. 8 test detonator when unconfined. Blasting agents are labeled and placarded as Class 1.5 material by US DOTn. |
| 3.3 | Combustible Liquid. A liquid having a closed cup flash point at or above 100 degrees Fahrenheit (38 degrees centigrade). Combustible liquids shall be subdivided as follows: - Class II. Liquids having a closed cup flash point at or above 100 degrees Fahrenheit (38 degrees centigrade) and below 140 degrees Fahrenheit (60 degrees centigrade) - Class IIIA. Liquids having a closed cup flash point at or above 140 degrees Fahrenheit (60 degrees centigrade) and below 200 degrees Fahrenheit (93 degrees centigrade). - Class IIIB. Liquids having a closed cup flash point at or above 200 degrees Fahrenheit (38 degrees centigrade. The category of combustible liquids does not include compressed gases or cryogenic fluids. |
| 3.4 | Corrosive Material. A chemical that causes visible destruction of, or irreversible alterations in, living tissue by chemical action at the point of contact. This term does not refer to action on inanimate surfaces. |
| 3.5 | Event Permit. A permit issued for a specific one time only operation. |
| 3.6 | Flammable Liquid. A liquid having a closed cup flash point below 100 degrees Fahrenheit (38 degrees centigrade). Flammable liquids are further categorized into a group know as Class I liquids. The Class I category is subdivided as follows: - Class IA. Liquids having a flash point below 73 degrees Fahrenheit (23 degrees centigrade) and having a boiling point below 100 degrees Fahrenheit (38 degrees centigrade). - Class IB. Liquids having a flash point below 73 degrees Fahrenheit (23 degrees centigrade) and having a boiling point at or above 100 degrees Fahrenheit (38 degrees centigrade). - Class IC. Liquids having a flash point at or above 73 degrees Fahrenheit (23 degrees centigrade) and below 100 degrees Fahrenheit (38 degrees centigrade). The category of flammable liquids does not include compressed gases or cryogenic fluids. |
| 3.7 | Flammable Solid. A solid, other than a blasting agent or explosive, that is capable of causing fire through friction, absorption or moisture, spontaneous chemical change, or retained heat from manufacturing or processing, or which has an ignition temperature below 212 degrees Fahrenheit (100 degrees centigrade) or which burns so vigorously and persistently when ignited as to create a serious hazard. |
| 3.8 | Hazardous Materials. Those chemicals or substances that are physical hazards or health hazards (as defined in the International Fire Code 2003), whether the materials are in usable or waste condition. |
| 3.9 | Marine Terminal. Any business that furnishes a wharf, dock, or pier to connect with a highway, rail carrier or pipeline, and/or a water carrier. |
| 3.10 | NFPA. National Fire Protection Association. |
| 3.11 | Nitro Carbo Nitrate: Hazardous product containing 94% ammonium nitrate and 6% #2 fuel oil. |
| 3.12 | Oxidizer. A material that readily yields oxygen or other oxidizing gas, or that readily reacts to promote or initiate combustion of combustible materials (e.g., bromine, chlorine, fluorine). |
| 4.0 | References |

| 4.1 | International Fire Code, 2003 |
| --- | --- |
| 4.2 | 49 CFR 173.171 and 173.62 |
| 4.3 | NFPA 495, Chapter 3, Blasting Agents |
| 5.0 | Rules |

| 5.1 | General Guidelines - All marine terminals that store or handle hazardous materials to or from ships shall be required to obtain an annual marine terminal permit. - An annual permit will be issued to transporters of hazardous materials for all hazard classes based on the permit requirements and conditions listed in this policy. - Event permits may be issued to transporters of hazardous materials who submit a request to the City of Tacoma two weeks prior to the shipment arrival date. |
| --- | --- |
| 5.2 | Special Hazardous Materials Permits - A special hazardous materials permit is required when a marine terminal and/or shipper requests a deviation from the quantities and/or conditions delineated in the annual marine terminal permit. - A special hazardous permit application shall include the following information: - Name of chemical and product - Chemical Abstracts Service (CAS) number or questions about chemical - Type of packaging - Container weight - Number of containers per ship - Length of stay at terminal - $150 application fee - The Assistant Chief of Prevention and Education will evaluate these requests on a case-by-case basis. - Issuance of the permit will be determined based on safety, risk, exposure, special or unique conditions and precedent. - In the absence of the Assistant Chief, the Deputy Chief will evaluate these permit requests. - TFD also may propose to the applicant additional alternative safeguards, not included in the original permit application, that create an acceptable risk under which the permit could be granted. - Applicants then have the choice to continue with the permit process under those conditions. |
| 5.3 | Hazard Class Permit Requirements - Hazard Class 1 Explosive: - Event permit required. Quantity to be established at time of application. - Event permit required. Quantity to be established at time of application. - Annual permit required. 200,000 pounds maximum amount per facility. See special conditions. - Annual permit required. 600,000 pounds maximum amount per facility. See special conditions. - Annual permit required. 600,000 pounds maximum amount per facility. - Annual permit required. Unlimited amount. - Hazard Class 2 Gases: - Annual permit required. Special notification and permit required if over 100,000 pounds. - Permit not required. - Annual permit required. Special notification and permit required if over 20,000 pounds. - Hazard Class 3 Flammable and Combustible Liquid: - Annual permit required. Special notification required if over 500,000 pounds. 3.1 Combustible liquid. Annual permit required. Unlimited amount. - Hazard Class 4 Flammable Solids: - Annual permit required. Unlimited amount. - Annual permit required. Special notification and permit required if over 50,000 pounds.. - Annual permit required. Special notification and permit required if over 50,000 pounds. - Hazard Class 5 Oxidizer: - Annual permit required. Special notification and permit required if over 50,000 pounds. - Annual permit required. Special notification and permit required if over 50,000 pounds. - Hazard Class 6 Poison: - PGI and PGII. Event permit required. Storage requirements to be established at the time of permit application. - PGIII: Annual permit required. Special notification and permit required if over 50,000 pounds. - Hazard Class 7 Radioactive: - Annual permit required. Unlimited amount. - Event permit required. Storage requirements to be established at time of permit application. - Event permit required. Storage requirements to be established at time of permit application. - Hazard Class 8 Corrosive: - Annual permit required. Unlimited amount. - Hazard Class 9 Miscellaneous: - Annual permit required. Unlimited amount. - Ammonia Nitrate: Event permit required. 50,000 pounds maximum per facility. NO bulk transport. NO on-site storage. - Nitro Carbo Nitrate: Annual permit required. 50,000 pounds maximum per facility. No on-site storage. Dwell time not to exceed one hour. See special conditions. |
| 5.4 | Special Conditions - Hazard Class 1 Explosive 1.3 - The TFD Prevention Bureau shall be notified (253-591-5740) at least 24 hours in advance of receiving a shipment of permitted 1.3 explosives. - Permitted 1.3 explosives shall be stored in the marine terminal or yard of the marine terminal a maximum of 24 hours. - Permitted explosives shall be labeled at the gate with a Hazard Class Explosives 1.3 placard before entry into the marine terminal or yard of the marine terminal. - The shipper will designate an area for staging all containers filled with TFD approved 1.3 explosives. - A maximum of six containers may be on site at the same time. - 1.3 explosives shall be packaged in accordance with Department of Transportation regulations per 49 CFR 173.171 or 173.62 - Hazard Class 1 Explosive 1.4 - The TFD Prevention Bureau shall be notified at least 5 working days in advance of receiving a shipment of permitted 1.4 explosives. - Delivery of 1.4G explosives (fireworks) shall not: - Exceed twenty 40-foot containers or forty 20-foot containers - Exceed 600,000 pounds aggregate weight - Take place when bulk quantities of oxidizers and/or blasting agents are on the premises. - 1.4G explosives shall be delivered to a site that is: - Approved in advance by TFD - Remote from any important building - Accessible to firefighters - Effectively separated from other hazardous cargo - The 1.4G explosives must be removed from the site within 24 hours of delivery. - Nitro Carbo Nitrate - The TFD Prevention Bureau shall be notified at least 5 working days in advance of receiving a shipment of nitro carbo nitrate. - Nitro carbo nitrate shall be handled and stored in accordance with Department of Transportation Regulations and NFPA Standard 495. - Product must be bagged in Department of Transportation approved sacks and sealed in commercial trailer that contains no other products. - Quantity is limited to 45,000 pounds per container, three containers per site. - Containers shall be stored 1,650 feet from inhabited buildings and 850 feet from public highways. - Containers shall not be stored in a terminal for more than one hour prior to loading on a vessel. - The total time from loading on a vessel to sailing shall not exceed nine hours. Example: For a light load under normal conditions the allowable time on site for containers is one hour. Load time is approximately 2000 hours, sailing at 0100 hours the next morning. Example: For a full load under normal conditions, the allowable time on site for the container is one hour. Load time is approximately 2000 hours, sailing at 0500 hours the next morning. - Delivery vehicles and storage containers and trailers are required to have specific “Blasting Agent” placards affixed to them. - Storage sites shall have posted on each side of the storage site the following signs that can be easily read from a distance of 150 feet: - “Blasting Agent” - “No Highly Flammable or Combustible Materials to be Stored Within 1000 Feet of a Barricaded Site (or within 500 Feet of an Unbarricaded Site)” - “No Smoking, Sparks or Open Flame Within 100 Feet” - On board the ship, nitro carbo nitrate shall be stored as far away as possible from other oxidizing or flammable materials and shall be similarly removed from proximity to reactive or other hazardous cargo. - Nitro carbo nitrate shall be the last item loaded shipboard and located so that it can be easily unloaded first in the event of an emergency. - The container or trailer shall be appropriately marked with a placard for easy identification as noted above. |

Approved by:

Signature on File at Headquarters

__________________________________________		9/28/05

Jeff Jensen								date

Assistant Chief of Prevention and Education