Permit Application #2000.4

# Tacoma Fire Department
Fire Prevention Division 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

Underground Tank Decommissioning or Removal Single Family Residential 


To be completed by the Permit Applicant (type in the grey box or print out and complete)

| ### Business Information |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  | Projected Start Date: |  |  |  |
| Business Name: |  |  |  |  |  |  |  |
| Address: | Street |  |  |  |  | State WA | Zip |
| Site Address: | (if different from above) |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |
| Phone: | ( ) |  |  | Alternate Phone/Cell: ( ) |  |  |  |
| E-mail Address: |  |  |  |  |  |  |  |
| City of Tacoma Business License:; Washington State Contractor License:; ICC UST Certification #. Comments:. |
| ### Please include a check made payable to the CITY OF TACOMA TREASURER, or request an invoice. |  |  |  |  |  |  |  |
| Check this box to have applicant invoiced for the permit fee. |  |  |  |  |  |  |  |
| ### FPB OFFICIAL USE ONLY |  |  |  |  |  |  |  |
| PERMIT |  |  |  |  |  |  |  |
| Approved by: |  |  | Date: |  | Exp date: |  |  |
| Permit fee: |  | Date received: | Check number: |  | Receipt number: |  |  |
| APPROVAL STAMP HERE |  |  |  |  |  |  |  |

See attached documentation for description of conditions that must be met prior to the issuance of this permit.

- Under Ground Tank -

PERMIT CONDITIONS: #2000.4 Underground Tank Decommissioning – Single Family Residential Tank

All of the following conditions must be met prior to the issuance of a permit.

# 1.   Time Lines

- Permit shall be issued prior to the commencement of work.  No permit will be used after tank decommissioning work is performed.

# 2.   Regulatory reference

a.        IFC Chapter 57

# 3.   Required submittals

a.        Tacoma Fire Department permit application.

b.        City of Tacoma business license (enter on application)

c.        Washington State Contractor license (enter on application)

d.        ICC Certification copy

UPON COMPLETION OF WORK SUBMIT:

d.         Heating Oil Tank Decommissioning Report to the Tacoma Fire Department (see         
              attached)

# 4.   Inspection requirements

a.        No prior or final inspection is required.

# 5.   Requirements for decommissioning and removal

See Tacoma Fire Department Information Bulletin Decommissioning of Residential  
      Heating Oil Tanks

a.        Removal of tank:

- Pump all remaining oil from your tank

- Clean out any sludge in the bottom of the tank

- Remove potentially explosive vapors from the tank

- Properly dispose of the tank

b.        Closed in place:

- Flammable and combustible liquids shall be removed from the tank and connected piping.

- The suction, inlet, gauge, vapor return and vapor lines shall be disconnected.

- The tank shall be filled completely with an approved inert solid material.

- Remaining underground piping shall be capped or plugged.

- A record of tank size, location and date of abandonment shall be retained.

- All exterior above-grade fill piping shall be permanently removed when tanks are abandoned or removed.

**Item 3 is a new requirement in the 2014 IFC Section 5704.13.1.4

# Tacoma Fire Department
Fire Prevention Division 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

# Tacoma Fire Department
Fire Prevention Division 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

Tacoma Fire Department

Heating Oil Tank

Decommissioning Report

Address tank located: ____________________________________________________

Property owner: ________________________________________________________

Date of decommissioning: ________________________Tank size: ________________

Type of disposal:		In Place_____			Removal_______

Type of fill material:______________________________________________________

Company name: _____________________________Phone______________________

Person responsible for disposal:____________________________________________

City of Tacoma business license number: ____________________________________

ICC UST Certification number: _____________________________________________

Dept. of Ecology Certification number: _______________________________________

If required:	Soil analysis company: ________________________________________

Results of analysis: ___________________________________________

I, the property owner, was provided with a copy of the permit conditions and the Tacoma Fire Department Information bulletin.  I understand no permit will be issued after decommissioning is already done.  I also understand the ICC-certified Decommissioner will provide me with a copy of the Decommissioning report within 30 days of completion of the work.

Signature of property owner:

________________________________________ Date_________________________

Signature of Decommissioner:

________________________________________ Date ________________________