Permit Application # 2001.4 Assembly Permit – Temporary Special Events 
submit by hand, mail, fax, or e-mail to: TFDSEO@cityoftacoma.org

# Tacoma Fire Department
Fire Prevention Bureau 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

To be completed by the Permit Applicant (type in the grey box or print out and complete)

| ### Business Information |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  | Federal Tax ID: |  |  | UBI: |  |
| Applicant: |  |  |  |  | Drivers License: |  |  |  |  |
| Address: |  |  | City |  |  |  | State |  | Zip |
| Event Address: | (if different from above) |  |  |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |  |  |
| Phone: | ( ) |  |  |  | Alternate Phone/Cell: ( ) |  |  |  |  |
| E-mail Address: |  |  |  |  |  |  |  |  |  |
| Event Name: |  |  | Type of Event: |  |  |  |  |  |  |
| Date of Event: |  |  | Time of Event: |  |  |  |  |  |  |
| City of Tacoma Business License: |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |
| ### Please include a check made payable to the CITY OF TACOMA TREASURER, or request an invoice. |  |  |  |  |  |  |  |  |  |
| Check this box to have applicant invoiced for the permit fee. |  |  |  |  |  |  |  |  |  |
| ### FPB OFFICIAL USE ONLY |  |  |  |  |  |  |  |  |  |
| Approved By: |  |  |  | Date: |  |  |  |  |  |
| Denied: | Reason for Denial: |  |  |  |  |  |  |  |  |
| Site Inspection: | Approved: Corrective Measures: 1. 2. |  |  |  |  |  |  |  |  |
| Permit Number: |  |  |  |  |  |  |  |  |  |
| Permit Fees: | Date Received: | Receipt Number: |  |  |  | Check Number: |  |  |  |

See attached documentation for description of conditions that must be met prior to the issuance of this permit.

-Special Events-

# Tacoma Fire Department

PERMIT CONDITIONS: #2001.4   Assembly Permit – Temporary Special Events

Scope:  The sponsor, promoter or person responsible for the event shall be required 
    to secure a permit for the following types of situations:

- The occasional use of a building or part of a building that is not classified as 
Assembly Occupancy.

- An event in an Assembly Occupancy where alterations to the existing exiting 
configuration, character or use of the facility are changed in any manner.

- Operating a fair, large carnival, outdoor concert and festivals and other outdoor events where groups of more than 100 people may gather.

- Operating a fair, large carnival, outdoor concert and festivals and other outdoor events where open flame or fire works for entertainment is used. Separate permit is required.

- Operating a fair, large carnival, outdoor concert and festivals and other outdoor events where cooking with as follows:  deep fat frying, LPG use or open flame with solid fuel is used. Separate permit is required

- Operating a fair, large carnival, outdoor concert and festivals and other outdoor events where tents or canopies larger then 10x10 are used. Separate permit is required

- Operating a fair, large carnival, outdoor concert and festivals and other outdoor events where LPG (propane), Butane, Natural gas/CNG is used for other than cooking.  Separate permit is required.

All of the following conditions must be met prior to the issuance of a permit.

# 1.  Time Lines:

a.   Applications are to be submitted 30 days prior to event commencing.

- Notify the Fire Prevention Bureau, Special Events Officer (253-591-5740) not less than 48 hours prior to the day event set-up will commence.

# 2.  Regulatory References:

- a.   International Fire Code (IFC) Section105–Permits

- b.   IFC 403 – Emergency planning required

- c.   IFC 404 – Emergency preparedness required

- d.   Tacoma Fire Department Policy, Indoor Booth Vendors Bulletin

- e.   Tacoma Fire Department Temporary Assembly Occupancy Requirements.

- f.    Tacoma Fire Department Policy, Outdoor Booth Vendors Bulletin

- g.   Tacoma Municipal Code Title 3 & 11

# 3.  Required Submittals:

a.   Tacoma Fire Department Permit Application

b.   City of Tacoma Business license (provide on application)

c.   Site or event plan and diagrams shall indicate the location of each permit activity or 
      operation. Emergency response and evacuation diagrams must be legible on 8 ½” x                                           
      11” paper. North should be labeled and indicated by an arrow.

d.   Signed Event Vendor Acknowledgement.  Copy of signed acknowledgement must be on site with vendor during event.

# 4.  Inspection Requirements:

a.   Tacoma Fire Department may conduct inspections during event set-up and just prior to the event opening.

b.   Tacoma Fire Department shall assign standby personnel to the event for Items

# 1,4,5,6 &7 (as defined in “Scope”). This will incur additional fees based upon hours attended.

c.   Tacoma Fire Department may assign standby personnel to the event for event type #2 &3 (as defined in “Scope”).  Staffing will incur additional fees based upon hours attended.

# 5.  Requirements:

See Tacoma Fire Department Information Bulletin Temporary Assembly Occupancy

a.    Seating and egress paths in accordance with IFC 1024

b.    Vending or trade show booths must be in accordance with appropriate Booth   
 Vendor Policy

c.    A fire extinguisher must be within 75 feet of travel from any point in the event area

d.    Any special hazards may result in increased requirements

e.    Fire and emergency watch personnel may be required, depending on the nature of   
 the event and projected attendance.  This may be required to be staffed by event  
 personnel.

# Tacoma Fire Department

Special Event Vendor Acknowledgement

All vendor cooking operations using either solid fuels (charcoal, wood) or Liquid Petroleum Gas (LPG) must meet the conditions of the permit requirements as specified in 2009 IFC, NFPA Standard #58, and Tacoma Municipal Code.  Use of propane is by Fire Department permit only.

General Precautions:  Cords, ropes, and wires shall not be strung on the floor unless danger of tripping is eliminated.  Flammable liquids in any container are prohibited unless permitted by the Fire Marshal.  Any accumulation of combustible materials (cardboard boxes or packaging) in a booth is prohibited.  Tents or canopies where cooking operation are conducted shall furnish a certification of fire resistance.

Separation distances of 18” must be maintained from combustible surfaces (i.e. tent walls).

Fire Extinguisher:  All cooking operations shall have a currently certified 2A20BC multi-purpose portable fire extinguisher within 20 feet of the cooking operations. Vendors shall provide on demand, a current certification or proof of purchase dated within the calendar year.  All extinguishers must be visible and ready for use.

In addition “K” Class fire extinguishers are required for the protection of cooking appliances (griddles & fryers) that use combustible cooking media (i.e. animal or vegetable oils and fats).  “K” Class extinguishers of at least 6L may also be used for solid fuel fires (charcoal & wood BBQ).  Water based extinguishers of at least 2A may be substituted for “K” class extinguishers for solid fuel fires only.

All extinguishers shall be readily visible and placed within 20 feet of the cooking operations.

LPG Fuel:  Current International Fire Code requirements limit LPG containers to an aggregate 40 gallons (in any configuration) in a single 10’ x 10’ vendor booth.  LPG cylinders in use or stored shall be secured against falling and protected from physical damage.  Cylinders awaiting use shall be stored in an upright position.  Empty cylinders may be stored in a horizontal position.  Cylinders in use shall not be secured to an appliance in use.  Minimal 18” separation from combustible surfaces shall be maintained.  Vendors may request exemption for excess quantities of propane on a case by case basis.  Issuance of excess quantity permit will be based on total quantities requested and is the determination of the Deputy Fire Marshal or their representative.

Appliances:  Vendors shall ensure that appliances in use shall be rated and listed for intended use. Appliances shall be level and rest on either hard packed earth or a level fire resistant surface (i.e. tile, backer board, concrete board, treated plywood, etc.).  Use of 8 oz (1 lb nominal weight) butane cylinders to warm food is not required to obtain a separate permit.  However, the surface underneath the warming appliance must be protected from fire.  Deep fryers and other high fuel consumption appliances should use the properly sized orifice for the intended fuel.

# Tacoma Fire Department

Special Event Vendor Acknowledgement

I have read and understand the requirements for vendor cooking operation participation in City of Tacoma Special Events. I understand that non-compliance with rules set forth in the vendor acknowledgement may result in my booth being dismissed from the event.

Booth/Space Number or Name:  ______________________________________________

Projected Number and Type of Appliances

____	Propane fueled grill

____	Charcoal fueled grill

____	Wood fired grill

____	Griddle

____	Deep fryer    Number of______

____	Oriental Wok

____	Roaster

____	Commercial BBQ (>45 sq in)

____	Consumer grade BBQ (<45 sq in)

Extinguisher Type:

- 2A20BC or greater

- 2A water based

- 6L (minimum) “K” Class

Completed Acknowledgement MUST Remain ON Site During Event

________________________________________________________________________

(Print Name)

_______________________________________________________________________

Signature & Date

Event Name

g:fpb/docs/Special Event Vendor Acknowledgement