## Slide 1
Title 2 and 3 Development Code
City of Tacoma | Planning and Development Services
Tacoma Permit Advisory Group
April 19, 2023
ITEM # 1
Notes: Template Read-Me
Do not insert animations or slide transitions into your presentation.
Use only sans serif fonts (i.e.: Arial, Tahoma, Helvetica).
Fonts must be between 24 points and 32 points in size. The minimum point size allowed is 18.
Avoid having too much text.
If the text flows outside the safe title area, split the information into two or more slides.
Pictures with white backgrounds should be toned down by right clicking the mouse on the picture, then selecting Format Picture, lower the brightness by 10%.
Ensure graphics (pictures, charts) are high resolution so they can be easily viewed on screen.
The Safe Area grid lines that you see on the background should be removed when your presentation is completely formatted.
To remove the grid lines: Select the View tab. On the left side of the upper tool bar, click on Slide Master. Select the top most slide in the list. (You may need to scroll)
To select the Safe Area we suggest clicking on the upper left corner of the object. Once it highlights, press delete. Save your presentation.
Alternatively you may hide the Safe Area by clicking Hide Background Graphics in the Design tab for each slide in your presentation. (However, make sure this action does not also affect other graphics you have added to your presentation.)

## Slide 2
OVERVIEW
Scope of Changes:
Clerical
Enhancements
Coordination
Clarity
Tacoma Amendments
Washington State Amendments
Model Code
Notes: Majority of changes clerical – changes to section numbers, local amendments that have been adopted by the state, changes to model code language Enhancements based on stakeholder feedback – example language about adjacent properties
Coordination – example amendment to building code clarifying that encroachments into the right of way have to be approved by the City Engineer
Clarity – example horizontal building separation. Language improved to be more direct

## Slide 3
BACKGROUND
Model Building Codes Published on 3-year Cycle
New Washington State Building Codes Effective July 1, 2023
The City May Amend State Code in Some Cases
Notes: Explain Model Code and State Code adoption process – opportunities for stakeholder input. Explain what we can and can’t amend.

## Slide 4
ISSUES
Significant Changes to State Code:
Electric Vehicle Charging Infrastructure
Energy Code
Energy Storage Systems
All Gender Facilities
High-Rise Fire Sprinkler Retrofit
Notes: EV charging – 10% / 10% / 10%, Energy code requires further conservation, energy storage systems addressed in the code, all gender facilities addressed in model code, high-rise retrofit - 1 year to notify owners – 12 years for them to comply

## Slide 5
PROPOSED REVISIONS
Minor Changes to TMC:
2.02.015* Neighboring Properties
2.02.207 Encroachments
2.02.275 Political Signs
2.22.040 Off Site Improvements
Notes: Neighboring properties appears in each section related to development. Allows PDS to enforce unauthorized use of neighboring properties. Clarification that all encroachments into the right of way allowed by the Building Code must also be approved by the City Engineer or their designee
Code restricting political signs removed as it may conflicts with free speech
Added language to allow requirement of offsite improvements when a property is developed, but no buildings are constructed (parking lots, storage yards, recreational facilities). Added language to coordinate improvements with future city plans for right of way. Added language to better coordinate with Titles 10 and 13 with regard to driveways.

## Slide 6
HEALTH, EQUITY & SUSTAINABILITY ANALYSIS
Impacts to Neighboring Properties
Electric Vehicle Charging Infrastructure
Minimum Construction Standards
Notes: Added language will help those impacted by development, by allowing them to file complaints that PDS can enforce upon.
Retained City amendment to apply EV infrastructure to apply to additions to existing parking lots
Minimum construction standards protect the health and safety of all residents and visitors. Revisions to the energy code enhance sustainability requirements through conservation and preparation for future renewable energy sources – roofs of commercial buildings required to be designed to support future solar panels

## Slide 7
OUTREACH
ICC Code Hearings - Ongoing
Washington State Technical Advisory Groups - Ongoing
Tacoma Permit Advisory Group – April 19th
Board of Building Appeals – April 25th
Notes: Discuss how model code is made by consensus. Discuss State adoption process – TAG, SBCC, Legislature.
Add input from TPAG and BOBA after received.

## Slide 8
NEXT STEPS
Council Committee Review – May 10th
City Council Consideration – May 23rd
Ordinance Effective Date – July 1st
Additional Education & Outreach - Ongoing
Notes: Discuss outreach and education. Notices on website, links to codes available, application services, creation of custom Tacoma code

## Slide 9
Title 2 and 3 Development Code
City of Tacoma | Planning and Development Services
Tacoma Permit Advisory Group
April 19, 2023
ITEM # 1
Notes: Template Read-Me
Do not insert animations or slide transitions into your presentation.
Use only sans serif fonts (i.e.: Arial, Tahoma, Helvetica).
Fonts must be between 24 points and 32 points in size. The minimum point size allowed is 18.
Avoid having too much text.
If the text flows outside the safe title area, split the information into two or more slides.
Pictures with white backgrounds should be toned down by right clicking the mouse on the picture, then selecting Format Picture, lower the brightness by 10%.
Ensure graphics (pictures, charts) are high resolution so they can be easily viewed on screen.
The Safe Area grid lines that you see on the background should be removed when your presentation is completely formatted.
To remove the grid lines: Select the View tab. On the left side of the upper tool bar, click on Slide Master. Select the top most slide in the list. (You may need to scroll)
To select the Safe Area we suggest clicking on the upper left corner of the object. Once it highlights, press delete. Save your presentation.
Alternatively you may hide the Safe Area by clicking Hide Background Graphics in the Design tab for each slide in your presentation. (However, make sure this action does not also affect other graphics you have added to your presentation.)